## 工作表1
Outdoor DC UPS Power System Product Data Sheet List
Dust & Waterproof:IP66,Low & High Temp:-30°C ~ +70°C,Cycle Life:over 2000 Times (6Years @25°C/0.2C Charge/0.5C Discharge/Surplus 80% Capacity)
No. | Product Line | Model Number | Design Capacity +-3% |  | Front Images | Other Image | Volume cm+-3% |  |  | Weight Kg+-3% |  | Devices Power Consumption W / Power Supply Hrs+-5% | [6 empty] | Remark
| Customized Lithium Iron Phosphate Battery |  | Ah | Watts |  |  | L | W | H | Body | + Accessories | 4 | 6 | 8 | 10 | 12 | 16 | 20
1 | IOP-USSP-12V0206-II | IOP-USSP-1202-01A | 2.3 | 29.44 |  |  | 12.5 | 10.9 | 15 | 1.2 | 2 | 7.36 | 4.9067 | 3.68 | 2.944 | 2.4533 | 1.84 | 1.472
2 |  | IOP-USSP-1204-02A | 4.3 | 55.04 |  |  | 12.5 | 10.9 | 15 | 1.4 | 2.2 | 13.76 | 9.1733 | 6.88 | 5.504 | 4.5867 | 3.44 | 2.752
3 |  | IOP-USSP-1206-03A | 5.8 | 74.24 |  |  | 12.5 | 10.9 | 15 | 1.6 | 2.4 | 18.56 | 12.3733 | 9.28 | 7.424 | 6.1867 | 4.64 | 3.712
4 | IOP-USSP-12V0712-II | IOP-USSP-1207-04A | 6.9 | 88.32 |  |  | 20.9 | 10.9 | 15 | 2.3 | 3.1 | 22.08 | 14.72 | 11.04 | 8.832 | 7.36 | 5.52 | 4.416
5 |  | IOP-USSP-1208-05A | 8 | 102.4 |  |  | 20.9 | 10.9 | 15 | 2.5 | 3.3 | 25.6 | 17.0667 | 12.8 | 10.24 | 8.5333 | 6.4 | 5.12
6 |  | IOP-USSP-1210-06A | 9.2 | 117.76 |  |  | 20.9 | 10.9 | 15 | 2.7 | 3.5 | 29.44 | 19.6267 | 14.72 | 11.776 | 9.8133 | 7.36 | 5.888
7 |  | IOP-USSP-1212-07A | 11.6 | 148.48 |  |  | 20.9 | 10.9 | 15 | 2.9 | 3.7 | 37.12 | 24.7467 | 18.56 | 14.848 | 12.3733 | 9.28 | 7.424
8 | IOP-USSP-12V1224-OA | IOP-USSP-1212-06B | 11.6 | 148.48 |  |  | 20.9 | 13.9 | 21 | 2.5 | 3.6 | 37.12 | 24.7467 | 18.56 | 14.848 | 12.3733 | 9.28 | 7.424
9 |  | IOP-USSP-1216-07B | 16.1 | 206.08 |  |  | 20.9 | 13.9 | 21 | 3 | 4.1 | 51.52 | 34.3467 | 25.76 | 20.608 | 17.1733 | 12.88 | 10.304
10 |  | IOP-USSP-1218-08B | 18.4 | 235.52 |  |  | 20.9 | 13.9 | 21 | 3.2 | 4.3 | 58.88 | 39.2533 | 29.44 | 23.552 | 19.6267 | 14.72 | 11.776
11 |  | IOP-USSP-1224-09B | 23.2 | 296.96 |  |  | 20.9 | 13.9 | 21 | 3.8 | 4.9 | 74.24 | 49.4933 | 37.12 | 29.696 | 24.7467 | 18.56 | 14.848
12 | IOP-USSP-12V3560-OA | IOP-USSP-1235-10B | 34.8 | 445.44 |  |  | 20.9 | 20 | 21 | 4.2 | 5.3 | 111.36 | 74.24 | 55.68 | 44.544 | 37.12 | 27.84 | 22.272
13 |  | IOP-USSP-1240-10B | 40.2 | 514.56 |  |  | 20.9 | 20 | 21 | 4.9 | 6 | 128.64 | 85.76 | 64.32 | 51.456 | 42.88 | 32.16 | 25.728
14 |  | IOP-USSP-1247-10B | 46.4 | 593.92 |  |  | 20.9 | 20 | 21 | 6.5 | 7.2 | 148.48 | 98.9867 | 74.24 | 59.392 | 49.4933 | 37.12 | 29.696
15 |  | IOP-USSP-1256-10B | 56 | 716.8 |  |  | 20.9 | 20 | 21 | 7.7 | 8.5 | 179.2 | 119.4667 | 89.6 | 71.68 | 59.7333 | 44.8 | 35.84
16 |  | IOP-USSP-1260-10B | 60 | 768 |  |  | 20.9 | 20 | 21 | 8.2 | 9 | 192 | 128 | 96 | 76.8 | 64 | 48 | 38.4